## Slide 1
SALT FOG CABINETS
The FQY series Salt Fog Apparatus is capable of simulating ocean climate condition. It performs salt fog corrosion test for coating of paint, cladding of manufactured product, electro technical equipment, electronic component, and metallic material, etc. and test the anti-corrosion quality of all the materials
It complies with National Standard GB2423.17 (Basic Circumstance Test Regulations of Electric & Electronic Products Test: Salt Spray Test Method), IEC68-2-11 (Second Part of Test Rules under Basic Environment: Test, Test: Salt Fog) and ISO9227 (Artificial Simulating Weathering Corrosion Test-Salt Spray Test) to do salt spray test.
The FQY series are designed and manufactured by our company is in accordance with the specification of ISO9227

## Slide 2
ASTM-B117, JIS-D0201, JIS-H8502, JIS-H8610, JIS-Z2371, GB/T 10125, ISO9227
Standards
+86 2159884839
Technical Specification
Product Ref | Dimension
FQY-015 | 630×500×450
FQY-025 | 900×550×600
FQY-075 | 1100×750×600
FQY-100 | 1300×1000×600
FQY-160 | 1600×900×900
FQY-200 | 2000×1000×600
Ordering information
Model | FQY-015 | FQY-025 | FQY-075 | FQY-100 | FQY-160 | FQY-200
Internal Dimension (mm) | 630×500× 450 | 900×550× 600 | 1100×750× 600 | 1300×1000× 600 | 1600×900× 900 | 2000×1000× 600
External Dimension (mm) | 1330×850× 1300 | 1600×900× 1300 | 1800×1100× 1500 | 2000×1250× 1600 | 2300×1250× 1600 | 2800×1400× 1600
Volume (L) | 150 | 250 | 750 | 1000 | 1600 | 2000
Temperature | Room Temperature -60℃ |  |  |  |  | 
Tolerance | ≤±2℃ |  |  |  |  | 
Fluctuation | ≤±0.5℃ |  |  |  |  | 
Drain | 1-2ml/80cm²·h |  |  |  |  | 
Spray Frequency | Continuous, weekly schedule |  |  |  |  | 
Power | 3Kw |  | 4Kw |  | 8Kw | 
Voltage | 220V, 50Hz |  |  |  |  |